## January 2023
[5 empty] | Field |  |  | Inorganics | [8 empty] | Metals | Physical Parameters
[5 empty] | Methane | Electrical Conductivity (Non Compensated) | pH (Field) | Ammonia as N | Alkalinity (Hydroxide) as CaCO3 | Alkalinity (total) as CaCO3 | Bicarbonate Alkalinity as CaCO3 | Carbonate Alkalinity as CaCO3 | Nitrate (as N) | Nitrite (as N) | Nitrite + Nitrate as N | TOC | Iron (filtered) | TSS
[5 empty] | ppm | µS/cm | - | mg/L | mg/L | mg/L | mg/L | mg/L | mg/L | mg/L | mg/L | mg/L | mg/L | mg/L
EQL | [7 empty] | 0.01 | 1 | 1 | 1 | 1 | 0.01 | 0.01 | 0.01 | 1 | 0.05 | 5
Site ID | Location Code | Field ID | Date | Sample Type
Buttonderry | B_101S | B_101S_270123 | 2023-01-27 | Groundwater | - | 1,675 | 7.01 | 0.03 | <1 | 279 | 279 | <1 | 0.04 | <0.01 | 0.04 | 8 | 1.00 | -
Buttonderry | B_102S | B_102S _270123 | 2023-01-27 | Groundwater | - | 631 | 6.41 | 0.05 | <1 | 25 | 25 | <1 | 0.02 | <0.01 | 0.02 | 19 | 0.16 | -
Buttonderry | B_103D | B_103D _270123 | 2023-01-27 | Groundwater | - | 5,709 | 6.99 | 0.50 | <1 | 88 | 88 | <1 | 0.02 | <0.01 | 0.02 | 65 | 0.14 | -
Buttonderry | B_104S | B_104S _270123 | 2023-01-27 | Groundwater | - | 1,603 | 7.02 | 0.22 | <1 | 338 | 338 | <1 | <0.01 | <0.01 | <0.01 | 37 | 20.9 | -
Buttonderry | B_105S | B_105S _270123 | 2023-01-27 | Groundwater | - | 1,438 | 6.59 | 0.86 | <1 | 655 | 655 | <1 | <0.01 | <0.01 | <0.01 | 100 | 29.8 | -
Buttonderry | B_110D | B_110D _180123 | 2023-01-18 | Groundwater | - | 12,530 | 6.33 | 0.02 | <1 | 457 | 457 | <1 | <0.01 | <0.01 | <0.01 | 10 | 0.12 | -
Buttonderry | B_111S | B_111S _180123 | 2023-01-18 | Groundwater | - | 15,319 | 4.77 | 0.11 | <1 | <1 | <1 | <1 | <0.01 | <0.01 | <0.01 | 28 | 23.1 | -
Buttonderry | B_112D | B_112D _180123 | 2023-01-18 | Groundwater | - | 10,782 | 4.19 | 0.11 | <1 | <1 | <1 | <1 | <0.01 | <0.01 | <0.01 | 18 | 10.2 | -
Buttonderry | B_113s | B_113s_270123 | 2023-01-27 | Groundwater | - | 5,401 | 6.37 | 0.98 | <1 | 517 | 517 | <1 | <0.01 | <0.01 | <0.01 | 28 | 28.2 | -
Buttonderry | B_612 | B_612_110123 | 2023-01-11 | Groundwater | - | 12,677 | 6.11 | 0.03 | <1 | 409 | 409 | <1 | <0.01 | <0.01 | <0.01 | 5 | 4.35 | -
Buttonderry | B_613 | B_613_110123 | 2023-01-11 | Groundwater | - | 8,229 | 5.72 | 0.20 | <1 | 161 | 161 | <1 | 0.01 | <0.01 | 0.01 | 24 | 69.3 | -
Buttonderry | B_617S | B_617S _180123 | 2023-01-18 | Groundwater | - | 11,272 | 5.16 | 0.16 | <1 | 88 | 88 | <1 | <0.01 | <0.01 | <0.01 | 31 | 13.0 | -
Buttonderry | B_901 | B_901 _180123 | 2023-01-18 | Groundwater | - | 10,773 | 6.57 | 0.06 | <1 | 633 | 633 | <1 | <0.01 | <0.01 | <0.01 | <1 | 0.20 | -
Buttonderry | B_902 | B_902_270123 | 2023-01-27 | Groundwater | - | 6,703 | 7.05 | 0.02 | <1 | 614 | 614 | <1 | 0.17 | <0.01 | 0.17 | <1 | <0.05 | -
Buttonderry | B_B | B_B_270123 | 2023-01-27 | Groundwater | - | 5,808 | 7.06 | 0.05 | <1 | 192 | 192 | <1 | 0.07 | <0.01 | 0.07 | 3 | 1.21 | -
Buttonderry | B_BT3 | B_BT3_270123 | 2023-01-27 | Groundwater | - | 14,002 | 6.26 | 0.28 | <1 | 140 | 140 | <1 | <0.01 | <0.01 | <0.01 | 4 | 42.1 | -
Buttonderry | B_BT4 | B_BT4 _180123 | 2023-01-18 | Groundwater | - | 13,789 | 5.93 | 0.36 | <1 | 164 | 164 | <1 | <0.01 | <0.01 | <0.01 | 6 | 31.6 | -
Buttonderry | B_BT16 | B_BT16 _180123 | 2023-01-18 | Groundwater | - | 11,346 | 6.53 | 0.03 | <1 | 688 | 688 | <1 | <0.01 | <0.01 | <0.01 | 5 | 0.12 | -
Buttonderry | B_BT17 | B_BT17 _180123 | 2023-01-18 | Groundwater | - | 13,478 | 6.67 | 0.02 | <1 | 654 | 654 | <1 | <0.01 | <0.01 | <0.01 | 9 | 0.50 | -
Buttonderry | B_BT19 | B_BT19 _180123 | 2023-01-18 | Groundwater | - | 11,412 | 6.58 | 0.11 | <1 | 618 | 618 | <1 | <0.01 | <0.01 | <0.01 | 10 | <0.05 | -
Buttonderry | B_BT20 | B_BT20_270123 | 2023-01-27 | Groundwater | - | 10,072 | 7.02 | 0.20 | <1 | 488 | 488 | <1 | 0.08 | <0.01 | 0.08 | 14 | 2.68 | -
Buttonderry | B_BTD | B_BTD_270123 | 2023-01-27 | Surface Water | - | 507 | 7.73 | 0.03 | <1 | 72 | 72 | <1 | 0.03 | <0.01 | 0.03 | 13 | 0.52 | 58
Buttonderry | B_BTM | B_BTM_270123 | 2023-01-27 | Surface Water | - | 0.412 | 7.29 | 0.08 | <1 | 68 | 68 | <1 | 0.04 | <0.01 | 0.04 | 9 | 0.35 | 232
Buttonderry | B_BTU | B_BTU_270123 | 2023-01-27 | Surface Water | - | 1,085 | 7.53 | 0.16 | <1 | 52 | 52 | <1 | 0.06 | <0.01 | 0.06 | 25 | 0.87 | 300
Buttonderry | B_TB1 | B_TB1_270123 | 2023-01-27 | Groundwater | - | 1,074 | 6.87 | 4.32 | <1 | 721 | 721 | <1 | <0.01 | <0.01 | <0.01 | 40 | 13.6 | -
Buttonderry | Area 1 | - | 2023-01-16 | Surface Gas | 5*
Buttonderry | Area 2 | - | 2023-01-16 | Surface Gas | 12,000*
Buttonderry | Area 3 | - | 2023-01-16 | Surface Gas | 22,000*
Buttonderry | Gate House, staff facilities and offcies | - | 2023-01-16 | Building Gas | <5*

## February 2023
Landfill Gas
Methane
ppm
EQL |  |  | 1
Site_ID | Location_Code | Sampled_Date_Time
Buttonderry | Area 1 | 2023-02-27 | 5,500*
Buttonderry | Area 2 | 2023-02-27 | 14,000*
Buttonderry | Area 3 | 2023-02-27 | 50,000*
Gate House, staff facilities and offcies |  | 2023-02-27 | <5*
Notes: * denotes maximum concentration recorded
- denotes not tested

## March 2023
Landfill Gas
Methane
ppm
EQL |  |  | 1
Site_ID | Location_Code | Sampled_Date_Time
Buttonderry | Area 1 | 2023-03-10 | 3,300*
Buttonderry | Area 2 | 2023-03-10 | 6,700*
Buttonderry | Area 3 | 2023-03-10 | 25,000*
Gate House, staff facilities and offcies |  | 2023-03-10 | <5*
Notes: * denotes maximum concentration recorded
- denotes not tested

## April 2023
|  |  |  | Field |  |  |  |  | Inorganics | [8 empty] | Metals | Physical Parameters
|  |  |  | Methane | Depth to groundwater (measured) | Electrical Conductivity (Non Compensated) | pH (Field) | Temp (Field) | Ammonia as N | Alkalinity (Hydroxide) as CaCO3 | Alkalinity (total) as CaCO3 | Bicarbonate Alkalinity as CaCO3 | Carbonate Alkalinity as CaCO3 | Nitrate (as N) | Nitrite (as N) | Nitrite + Nitrate as N | TOC | Iron (filtered) | TSS
|  |  |  | ppm | m | µS/cm | - | oC | mg/L | mg/L | mg/L | mg/L | mg/L | mg/L | mg/L | mg/L | mg/L | mg/L | mg/L
EQL | [8 empty] | 0.01 | 1 | 1 | 1 | 1 | 0.01 | 0.01 | 0.01 | 1 | 0.05 | 5
Site ID | Location Code | Field ID | Date
Buttonderry | B_101S | B_101S_040423 | 2023-04-04 | - | 4.37 | 12413 | 6.29 | 19 | 0.04 | <1 | 238 | 238 | <1 | 0.01 | <0.01 | 0.01 | 3 | 2.34 | -
Buttonderry | B_102S | B_102S _040423 | 2023-04-04 | - | 2.93 | 6166 | 4.79 | 19.7 | 0.03 | <1 | 3 | 3 | <1 | 0.03 | <0.01 | 0.03 | 17 | 0.17 | -
Buttonderry | B_103D | B_103D_040423 | 2023-04-04 | - | 2.78 | 5465 | 5.3 | 22.1 | 0.74 | <1 | 121 | 121 | <1 | 0.01 | <0.01 | 0.01 | 65 | 9.61 | -
Buttonderry | B_104S | B_104S _040423 | 2023-04-04 | - | 2.21 | 1767 | 6.75 | 21.5 | 0.21 | <1 | 361 | 361 | <1 | 0.12 | <0.01 | 0.12 | 34 | 3.54 | -
Buttonderry | B_105S | B_105S _040423 | 2023-04-04 | - | 4.4 | 2951 | 6.68 | 21.5 | 0.61 | <1 | 586 | 586 | <1 | 0.02 | <0.01 | 0.02 | 77 | 25.4 | -
Buttonderry | B_110D | B_110D_030423 | 2023-04-03 | - | 4.54 | 12953 | 6.32 | 19.3 | 0.03 | <1 | 460 | 460 | <1 | 0.07 | <0.01 | 0.07 | 10 | 0.16 | -
Buttonderry | B_111S | B_111S_030423 | 2023-04-03 | - | 4.39 | 15603 | 4.97 | 20 | 0.11 | <1 | 1 | 1 | <1 | 0.02 | <0.01 | 0.02 | 23 | 34.8 | -
Buttonderry | B_112D | B_112D_030423 | 2023-04-03 | - | 3.45 | 10930 | 4.28 | 19.5 | 0.11 | <1 | <1 | <1 | <1 | 0.01 | <0.01 | 0.01 | 8 | 11 | -
Buttonderry | B_113s | B_113s _040423 | 2023-04-04 | - | 1.87 | 2013 | 6.68 | 21.8 | 0.92 | <1 | 446 | 446 | <1 | 0.02 | <0.01 | 0.02 | 23 | 12.4 | -
Buttonderry | B_613s | B_613s _040423 | 2023-04-04 | - | 3.6 | 9393 | 5.24 | 21.2 | 0.38 | <1 | 189 | 189 | <1 | <0.10 | <0.10 | <0.10 | 20 | 75.9 | -
Buttonderry | B_617S | B_617S_030423 | 2023-04-03 | - | 2.33 | 11395 | 5.75 | 21.4 | 0.15 | <1 | 87 | 87 | <1 | 0.03 | <0.01 | 0.03 | 16 | 15.5 | -
Buttonderry | B_901 | B_901_030423 | 2023-04-03 | - | 5.06 | 10739 | 6.67 | 19 | 0.08 | <1 | 635 | 635 | <1 | 0.02 | <0.01 | 0.02 | 2 | 0.27 | -
Buttonderry | B_902 | B_902_030423 | 2023-04-03 | - | 6.45 | 13456 | 7.3 | 20.3 | 0.04 | <1 | 599 | 599 | <1 | 0.22 | <0.01 | 0.22 | 2 | <0.05 | -
Buttonderry | B_B | B_B _040423 | 2023-04-04 | - | 3.59 | 11890 | 6.45 | 19.6 | 0.11 | <1 | 183 | 183 | <1 | 0.06 | <0.01 | 0.06 | 2 | 1.52 | -
Buttonderry | B_BT3 | B_BT3 _040423 | 2023-04-04 | - | 1.89 | 14029 | 5.38 | 20.1 | 0.31 | <1 | 141 | 141 | <1 | 0.01 | <0.01 | 0.01 | 3 | 42.4 | -
Buttonderry | B_BT4 | B_BT4_030423 | 2023-04-03 | - | 4.87 | 14147 | 6 | 18.6 | 0.17 | <1 | 162 | 162 | <1 | 0.01 | <0.01 | 0.01 | 2 | 40 | -
Buttonderry | B_BT16 | B_BT16_030423 | 2023-04-03 | - | 1.69 | 11241 | 6.63 | 19.7 | 0.03 | <1 | 688 | 688 | <1 | 0.01 | <0.01 | 0.01 | 2 | 0.28 | -
Buttonderry | B_BT17 | B_BT17_030423 | 2023-04-03 | - | 4.11 | 13517 | 6.56 | 19.3 | 0.03 | <1 | 667 | 667 | <1 | 0.02 | <0.01 | 0.02 | 1 | 1.8 | -
Buttonderry | B_BT19 | B_BT19_030423 | 2023-04-03 | - | 0.69 | 7468 | 6.58 | 17.5 | 0.13 | <1 | 622 | 622 | <1 | 0.02 | <0.01 | 0.02 | <1 | <0.05 | -
Buttonderry | B_BT20 | B_BT20 _040423 | 2023-04-04 | - | 1.71 | 10700 | 6.98 | 19.8 | 0.2 | <1 | 501 | 501 | <1 | 0.05 | <0.01 | 0.05 | 9 | 10.4 | -
Buttonderry | B_BTD | B_BTD_030423 | 2023-04-03 | - | - | 1134 | 6.83 | 18.7 | 0.05 | <1 | 56 | 56 | <1 | 0.14 | <0.01 | 0.14 | 14 | 0.39 | 17
Buttonderry | B_BTM | B_BTM _040423 | 2023-04-03 | - | - | 1141 | 7.18 | 19.3 | 0.1 | <1 | 80 | 80 | <1 | 0.44 | 0.02 | 0.46 | 8 | 0.07 | 14
Buttonderry | B_BTU | B_BTU _040423 | 2023-04-04 | - | - | 643 | 6.52 | 17.5 | 0.14 | <1 | 26 | 26 | <1 | <0.01 | <0.01 | <0.01 | 26 | 2.31 | 14
Buttonderry | B_TB1 | B_TB1 _040423 | 2023-04-04 | - | 1.6 | 817 | 7.5 | 19.8 | 3.93 | <1 | 774 | 774 | <1 | <0.10 | <0.10 | <0.10 | 25 | 13.6 | -
Buttonderry | Area 1 | - | 2023-04-28 | 10*
Buttonderry | Area 2 | - | 2023-04-28 | 4,070*
Buttonderry | Area 3 | - | 2023-04-28 | 9,800*
Buttonderry | Gate House, staff facilities and offcies | - | 2023-04-28 | <5*
Notes: * denotes maximum concentration recorded within monitoring area.

## May 2023
Landfill Gas
Methane
ppm
EQL |  |  | 1
Site_ID | Location_Code | Sampled_Date_Time
Buttonderry | Area 1 | 2023-05-19 | <5*
Buttonderry | Area 2 | 2023-05-19 | 4,300*
Buttonderry | Area 3 | 2023-05-19 | 6,000*
Gate House, staff facilities and offcies |  | 2023-05-19 | <5*
Notes: * denotes maximum concentration recorded
- denotes not tested

## June 2023
Landfill Gas
Methane
ppm
EQL |  |  | 1
Site_ID | Location_Code | Sampled_Date_Time
Buttonderry | Area 1 | 2023-06-16 | <5*
Buttonderry | Area 2 | 2023-06-16 | 22,000*
Buttonderry | Area 3 | 2023-06-16 | 13,000*
Gate House, staff facilities and offcies |  | 2023-06-16 | 360*^
Notes: * denotes maximum concentration recorded
- denotes not tested
^ denotes reading obtained from outside of office from sewer vent

## July 2023
|  |  |  | Field |  |  |  |  | Inorganics | [8 empty] | Metals | Physical Parameters
|  |  |  | Methane | Depth to groundwater (measured) | Electrical Conductivity (Non Compensated) | pH (Field) | Temp (Field) | Ammonia as N | Alkalinity (Hydroxide) as CaCO3 | Alkalinity (total) as CaCO3 | Bicarbonate Alkalinity as CaCO3 | Carbonate Alkalinity as CaCO3 | Nitrate (as N) | Nitrite (as N) | Nitrite + Nitrate as N | TOC | Iron (filtered) | Electrical conductivity *(lab) | TSS
|  |  |  | ppm | m | µS/cm | - | oC | mg/L | mg/L | mg/L | mg/L | mg/L | mg/L | mg/L | mg/L | mg/L | mg/L | µS/cm | mg/L
EQL | [8 empty] | 0.01 | 1 | 1 | 1 | 1 | 0.01 | 0.01 | 0.01 | 1 | 0.05 | 1 | 5
Site ID | Location Code | Field ID | Date
Buttonderry | B_101S | B_101S_130723 | 2023-07-13 | - | 4.03 | 16366 | 6.4 | 11.3 | 0.02 | <1 | 232 | 232 | <1 | <0.01 | <0.01 | <0.01 | 4 | 0.81 | - | -
Buttonderry | B_102s | B_102s_130723 | 2023-07-13 | - | 2.32 | 7035 | 5.06 | 13.9 | 0.05 | <1 | 33 | 33 | <1 | <0.01 | <0.01 | <0.01 | 20 | 0.2 | - | -
Buttonderry | B_103d | B_103d_130723 | 2023-07-13 | - | 2.54 | 4916 | 5.47 | 16.1 | 0.35 | <1 | 90 | 90 | <1 | <0.01 | <0.01 | <0.01 | 67 | 0.12 | - | -
Buttonderry | B_104s | B_104s_130723 | 2023-07-13 | - | 2.32 | 1595 | 6.64 | 16 | 0.2 | <1 | 315 | 315 | <1 | 0.02 | <0.01 | 0.02 | 32 | 19.7 | - | -
Buttonderry | B_105s | B_105s_130723 | 2023-07-13 | - | 2.33 | 2809 | 6.89 | 20.3 | 0.98 | <1 | 501 | 501 | <1 | 0.02 | <0.01 | 0.02 | 80 | 5.93 | - | -
Buttonderry | B_110d | B_110d_130723 | 2023-07-13 | - | 4.41 | 13133 | 6.35 | 18.7 | 0.02 | <1 | 441 | 441 | <1 | <0.01 | <0.01 | <0.01 | 14 | 0.12 | - | -
Buttonderry | B_111s | B_111s_130723 | 2023-07-13 | - | 3.55 | 16785 | 4.69 | 18.6 | 0.18 | <1 | <1 | <1 | <1 | <0.01 | <0.01 | <0.01 | 25 | 30 | - | -
Buttonderry | B_112D | B_112b_130723 | 2023-07-13 | - | 2.65 | 1110 | 4.24 | 19.4 | 0.12 | <1 | 4 | 4 | <1 | <0.01 | <0.01 | <0.01 | 12 | 9.9 | - | -
Buttonderry | B_113s | B_113s_130723 | 2023-07-13 | - | 2.25 | 4515 | 6.23 | 18.2 | 0.57 | <1 | 331 | 331 | <1 | 0.12 | <0.01 | 0.12 | 28 | 14 | - | -
Buttonderry | B_613 | B_613_130723 | 2023-07-13 | - | 3.84 | 7809 | 5.91 | 18.1 | 0.32 | <1 | 150 | 150 | <1 | <0.01 | <0.01 | <0.01 | 55 | 66.8 | - | -
Buttonderry | B_617s | B_617s_130723 | 2023-07-13 | - | 2.31 | 10420 | 5.22 | 18.3 | 0.36 | <1 | 77 | 77 | <1 | 0.02 | <0.01 | 0.02 | 30 | 11.9 | - | -
Buttonderry | B_901 | B_901_100723 | 2023-07-10 | - | 5.32 | 9339 | 6.5 | 17.9 | 0.07 | <1 | 596 | 596 | <1 | 0.18 | 0.02 | 0.2 | 157 | 0.12 | - | -
Buttonderry | B_902 | B_902_130723 | 2023-07-13 | - | 3.41 | 11488 | 6.82 | 18 | 0.01 | <1 | 561 | 561 | <1 | 0.12 | <0.01 | 0.12 | 2 | <0.05 | - | -
Buttonderry | B_B | B_B_130723 | 2023-07-13 | - | 3.82 | 10391 | 6.39 | 12.7 | 0.18 | <1 | 180 | 180 | <1 | 0.02 | <0.01 | 0.02 | 4 | 6.41 | - | -
Buttonderry | B_BT3 | B_BT3_130723 | 2023-07-13 | - | 2.22 | 12500 | 5.71 | 18 | 0.26 | <1 | 134 | 134 | <1 | <0.01 | <0.01 | <0.01 | 5 | 40.2 | - | -
Buttonderry | B_BT4 | B_BT4_100723 | 2023-07-10 | - | 1.3 | 14383 | 5.95 | 18.3 | 0.32 | <1 | 155 | 155 | <1 | 0.01 | <0.01 | 0.01 | 4 | 33.6 | - | -
Buttonderry | B_BT16 | B_BT16_100723 | 2023-07-10 | - | 2.25 | 11378 | 6.57 | 17.6 | 0.04 | <1 | 651 | 651 | <1 | 0.31 | <0.01 | 0.31 | 8 | 0.12 | - | -
Buttonderry | B_BT17 | B_BT17_100723 | 2023-07-10 | - | 2.7 | 11550 | 6.56 | 17.3 | 0.02 | <1 | 612 | 612 | <1 | 0.14 | <0.01 | 0.14 | 4 | 0.18 | - | -
Buttonderry | B_BT19 | B_BT19_100723 | 2023-07-10 | - | 0.4 | 11716 | 6.53 | 17 | 0.1 | <1 | 586 | 586 | <1 | 0.06 | <0.01 | 0.06 | 3 | <0.05 | - | -
Buttonderry | B_BT20 | B_BT20_130723 | 2023-07-13 | - | 1.83 | 9219 | 6.54 | 16.4 | 0.16 | <1 | 468 | 468 | <1 | 0.09 | <0.01 | 0.09 | 12 | 0.17 | - | -
Buttonderry | B_BTD | B_BTD_130723 | 2023-07-13 | - | - | 713 | 7.38 | 9.1 | 0.1 | <1 | 108 | 108 | <1 | 0.02 | <0.01 | 0.02 | 14 | 0.37 | - | <5
Buttonderry | B_BTM | B_BTM_130723 | 2023-07-13 | - | - | 1285 | 6.91 | 10.9 | 1.53 | <1 | 82 | 82 | <1 | 0.01 | <0.01 | 0.01 | 10 | 0.16 | - | 8
Buttonderry | B_BTU | B_BTU_130723 | 2023-07-13 | - | - | 1159 | 7.15 | 10.7 | 3.09 | <1 | 36 | 36 | <1 | <0.01 | <0.01 | <0.01 | 27 | 5.04 | - | 29
Buttonderry | B_Discharge Point 1 | B_Discharge Point 1_130723 | 2023-07-13 | - | - | 3105 | 7.26 | 15.5 | 0.05 | - | - | - | - | - | - | - | 18 | - | 2940 | -
Buttonderry | B_Discharge Point 2 | B_Discharge Point 2_130723 | 2023-07-13 | - | - | 1529 | 7.61 | 10.5 | 1.85 | - | - | - | - | - | - | - | 24 | - | 1510 | -
Buttonderry | B_TB1 | B_TB1_100723 | 2023-07-10 | - | 1.98 | 1526 | 7.37 | 18 | 4.93 | <1 | 866 | 866 | <1 | 0.01 | <0.01 | 0.01 | 47 | 4.18 | - | -
Buttonderry | B_TB2 | B_TB2_130723 | 2023-07-13 | - | 1.68 | 7399 | 6.1 | 14.8 | 0.17 | <1 | 126 | 126 | <1 | <0.01 | <0.01 | <0.01 | 4 | 0.07 | - | -
Buttonderry | Area 1 | - | 2023-07-19 | 5*
Buttonderry | Area 2 | - | 2023-07-19 | 5,800*
Buttonderry | Area 3 | - | 2023-07-19 | 10,000*
Buttonderry | Gate House, staff facilities and offcies | - |  | 150*
Notes: * denotes maximum concentration recorded within monitoring area.

## August 2023
Landfill Gas
Methane
ppm
EQL |  |  | 1
Site_ID | Location_Code | Sampled_Date_Time
Buttonderry | Area 1 | 2023-08-17 | <5*
Buttonderry | Area 2 | 2023-08-17 | 1,000*
Buttonderry | Area 3 | 2023-08-17 | 6,400*
Gate House, staff facilities and offcies |  | 2023-08-17 | 17*^
Notes: * denotes maximum concentration recorded
- denotes not tested
^ denotes reading obtained from outside of office from sewer vent

## September 2023
Landfill Gas
Methane
ppm
EQL |  |  | 1
Site_ID | Location_Code | Sampled_Date_Time
Buttonderry | Area 1 | 2023-09-14 | <5*
Buttonderry | Area 2 | 2023-09-14 | 770*
Buttonderry | Area 3 | 2023-09-14 | 12,500*
Gate House, staff facilities and offcies |  | 2023-09-14 | 970*^
Notes: * denotes maximum concentration recorded
- denotes not tested
^ denotes reading obtained from outside of office from sewer vent